## General Summary
GENERAL SUMMARY
Project ID: | 1337 W. PETERS ROAD CASA GRANDE, ARIZONA 85193
Scope: | MEP
No. Of Floors: | 1
Date: | 2026-03-14
OVERALL PROJECT GSF | 1412
SITE GSF | 1068
BUILDING GSF | 344
1st Floor (SF) | 344
DIVISION NO | DESCRIPTION | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL DIV. COST | TOTAL DIV. COST (PER SF)
01 00 00 | General Requirements | 3266.4766 | 0 | 3266.4766 | 2.3134
02 00 00 | Existing Condition | 3323.112 | 0 | 3323.112 | 9.6602
22 00 00 | Plumbing | 4086.4752 | 5382.8928 | 9469.368 | 27.5272
23 00 00 | HVAC | 1816.304 | 3934.392 | 5750.696 | 16.7171
24 00 00 | Electrical | 3571.152 | 5106.31 | 8677.462 | 25.2252
TOTAL TRADE COST |  | 16063.5198 | 14423.5948 | 30487.1146 | 81.4431
OVERHEAD AND PROFIT | 15% |  |  | 4573.0672 | 12.2165
INSURANCE | 0% |  |  | 0 | 0
CONTINGENCY | 5% |  |  | 1524.3557 | 4.0722
TAX | 9.7% |  |  | 2957.2501 | 7.9
SUGGESTED BID |  |  |  | 39541.7876 | 105.6317

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Project ID: | 1337 W. PETERS ROAD CASA GRANDE, ARIZONA 85193
Scope: | MEP
[13 empty] | Date: | 2026-03-14
SR # | Drawing # | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE | UNIT MANHOUR | HOURLY WAGE | LABOR COST | MAT. COST | TOTAL LABOR COST | TOTAL MAT. COST | UNIT COST | SUB COST
Units Legends ; LS=Lumsum, CY= Cubic Yard, SF=Square Footage LF= Linear Footage, EA=Count/Each
|  |  | GENERAL REQUIREMENTS | [11 empty] | 27220.638
1 |  | Permits | LS | 1 | 0% | 1 | 5.4441 | 50 | 272.2064 | 0 | 272.2064 | 0 | 272.2064 | 272.2064 | 1%
2 |  | Supervision and Coordination | LS | 1 | 0% | 1 | 16.3324 | 50 | 816.6191 | 0 | 816.6191 | 0 | 816.6191 | 816.6191 | 3%
3 |  | Submittals and Shop drawings | LS | 1 | 0% | 1 | 5.4441 | 50 | 272.2064 | 0 | 272.2064 | 0 | 272.2064 | 272.2064 | 1%
4 |  | Final Cleaning | LS | 1 | 0% | 1 | 2.7221 | 50 | 136.1032 | 0 | 136.1032 | 0 | 136.1032 | 136.1032 | 0.5%
5 |  | Mobilization Costs | LS | 1 | 0% | 1 | 10.8883 | 50 | 544.4128 | 0 | 544.4128 | 0 | 544.4128 | 544.4128 | 2%
6 |  | Temporary Control & Facilities | LS | 1 | 0% | 1 | 13.6103 | 50 | 680.5159 | 0 | 680.5159 | 0 | 680.5159 | 680.5159 | 2.5%
7 |  | Scaffolding | LS | 1 | 0% | 1 | 10.8883 | 50 | 544.4128 | 0 | 544.4128 | 0 | 544.4128 | 544.4128 | 2%
[11 empty] | 3266.4766 | 0 | SUBTOTAL | 3266.4766
EXISTING CONDITIONS
DEMOLITION
8 | A0.1 | EXISTING BUILDING TO BE REMOVED | SF | 247 | 0% | 247 | 0.085 | 52 | 4.42 | 0 | 1091.74 | 0 | 4.42 | 1091.74
9 |  | RAMP AND STOOP TO BE REMOVED | SF | 277 | 0% | 277 | 0.038 | 52 | 1.976 | 0 | 547.352 | 0 | 1.976 | 547.352
10 |  | REMOVE EXISTING GUARD RAIL | LF | 35 | 0% | 35 | 0.145 | 52 | 7.54 | 0 | 263.9 | 0 | 7.54 | 263.9
PLUMBING
11 | M2.1 | DEMO DOMESTIC WATER AND SANITARY LINES TO THE EDGE OF CONCRET DEMO | SF | 176 | 0% | 176 | 0.095 | 52 | 4.94 | 0 | 869.44 | 0 | 4.94 | 869.44
12 |  | REMOVE EXISTING 4" DIA ESS | LF | 18 | 0% | 18 | 0.54 | 52 | 28.08 | 0 | 505.44 | 0 | 28.08 | 505.44
13 |  | REMOVE EXISTING 45 DEGREE ELBOW | EA | 1 | 0% | 1 | 0.42 | 52 | 21.84 | 0 | 21.84 | 0 | 21.84 | 21.84
14 |  | REMOVE EXISTING CLEAN OUT | EA | 1 | 0% | 1 | 0.45 | 52 | 23.4 | 0 | 23.4 | 0 | 23.4 | 23.4
[11 empty] | 3323.112 | 0 | SUBTOTAL | 3323.112
PLUMBING
PLUMBING
| M2.1 | SANITARY PIPING
15 |  | 4" SANITARY PIPING | LF | 64 | 10% | 70.4 | 0.177 | 72 | 12.744 | 10.1 | 897.1776 | 711.04 | 22.844 | 1608.2176
VENT PIPING
16 |  | 2" VENT PIPING | LF | 40 | 10% | 44 | 0.13 | 72 | 9.36 | 3.15 | 411.84 | 138.6 | 12.51 | 550.44
DOMESTIC COLD WATER PIPING
17 |  | 1/2" DOMESTIC COLD WATER PIPING | LF | 25 | 10% | 27.5 | 0.116 | 72 | 8.352 | 3.13 | 229.68 | 86.075 | 11.482 | 315.755
18 |  | 2" DOMESTIC COLD WATER PIPING | LF | 29 | 10% | 31.9 | 0.216 | 72 | 15.552 | 29.8 | 496.1088 | 950.62 | 45.352 | 1446.7288
DOMESTIC HOT WATER PIPING
19 |  | 1/2" DOMESTIC HOT WATER PIPING | LF | 19 | 10% | 20.9 | 0.116 | 72 | 8.352 | 3.13 | 174.5568 | 65.417 | 11.482 | 239.9738
PLUMBING FIXTURES
20 |  | (WC1) WATER CLOSET DESCRIPTION: FLOOR-MOUNTED, VITREOUS CHINA, SIPHON JET ACTION, CLOSE-COUPLED TANK TYPE WITH ELONGATED BOWL. WATER CLOSET SHALL BE AMERICAN STANDARD 2467.016 “CADET ELONGATED” LOW CONSUMPTION (1.6 GALLONS/FLUSH) OR EQUAL BY KOHLER OR ELJER. WATER CLOSET SHALL BE COMPLETE WITH SOLID PLASTIC, EXTRA HEAVY, OPEN FRONT SEAT WITH STAINLESS STEEL HINGE POSTS AND CONCEALED CHECK; AMERICAN STANDARD 5320.114, ZURN Z5955SS-EL, OR EQUAL, WHITE COLOR. MUST MEET HEIGHT REQUIRED BY ACCESSIBILITY GUIDELINES. | EA | 1 | 0% | 1 | 3.524 | 72 | 253.728 | 504.8115 | 253.728 | 504.8115 | 758.5395 | 758.5395
21 |  | (L1) WALL HUNG LAVATORY DESCRIPTION: 20" X 18" SIZE, VITREOUS CHINA, WALL-HUNG LAVATORY, BACK AND SIDE SPLASH SHIELDS, AMERICAN STANDARD, "LUCERNE" 0355.012, KOHLER K-2005 “PENNINGTON”, ZURN Z5344, OR EQUAL BY KOHLER OR ELJER. LAVATORIES SHALL BE SUPPORTED BY THE SPECIFIED CARRIERS. SUPPLY PIPE ASSEMBLY SHALL BE AMERICAN STANDARD OR EQUAL, 2303.154, CONSISTING OF 1/2" WHEEL HANDLE ANGLE VALVE, 1/2" MALE THREAD INLET ESCUTCHEON AND 1/2" X 12-3/4" FLEXIBLE TUBE RISER. ASSEMBLY SHALL BE FURNISHED WITH A CHROME FINISH. LAVATORY TRAP SHALL BE AMERICAN STANDARD 4418.026 OR EQUAL, CHROME PLATED "P" TRAP WITH CLEANOUT PLUG. | EA | 1 | 0% | 1 | 3.421 | 72 | 246.312 | 441.7101 | 246.312 | 441.7101 | 688.0221 | 688.0221
22 |  | (S1) SINK DESCRIPTION: ELKAY "LUSTERTONE" LRAD-191850, OR EQUAL, SINGLE COMPARTMENT, 18 GA. STAINLESS STEEL, SELF-RIMMING SINK WITH LEDGE BACK. SINK SHALL BE 19" LONG X 18" WIDE X 5" DEEP WITH BOWL MEASURING 16” LONG X 11-1/2” WIDE. SINK SHALL BE FITTED WITH FAUCET HOLES AS REQUIRED FOR THE SPECIFIED FAUCET. SINK SHALL BE FITTED WITH AMERICAN STANDARD 4205.000, RELIANT KITCHEN FAUCET, OR EQUAL, CONSISTING OF CHROME LEVER HANDLE WITH SET SCREW, 3/8" COPPER TUBING INLETS AND ADJUSTABLE SWING SPOUT WITH AERATOR, 2.2 GPM. SINK SHALL BE FURTHER FITTED WITH AMERICAN STANDARD OR EQUAL, 4331.013 CRUMB CUP STRAINER OF ALL-BRASS CONSTRUCTION WITH A RUBBER STOPPER, 3-1/2" OUTLET AND 1-1/2" X 4", 20 GA. TAILPIECE WITH BRASS LOCKNUT AND COUPLING NUT. TRIM SHALL BE FURNISHED WITH A CHROME FINISH. SUPPLY PIPE ASSEMBLY SHALL BE AMERICAN STANDARD 2303.154, OR EQUAL, CONSISTING OF 3/8" WHEEL HANDLE ANGLE VALVE, 3/8" MALE THREAD OUTLET, ESCUTCHEON AND 3/8" X 12-3/4 FLEXIBLE TUBE RISER. ASSEMBLY SHALL BE FURNISHED WITH A CHROME FINISH. | EA | 1 | 0% | 1 | 3.441 | 72 | 247.752 | 457.4854 | 247.752 | 457.4854 | 705.2374 | 705.2374
23 |  | (SS1) SERVICE SINK DESCRIPTION: AMERICAN STANDARD 7741.000 "FLORWELL", KOHLER K-6710 “WHITBY”, ZURN Z5850-D3, OR EQUAL, CAST IRON, ACID-RESISTANT ENAMELED, CORNER MODEL, FLOOR-MOUNTED WITH CURBED FRONT, COMPLETE WITH 8344.112 "HERITAGE", ZURN Z843NI OR EQUAL, DUAL CONTROL FAUCET WITH LEVER HANDLES AND EXPOSED VACUUM BREAKER ASSEMBLY, BUCKET HOOK AND 3/4" HOSE OUTLET; 7721.038 STRAINER AND DRAIN; 7745.811 REMOVABLE VINYL COATED RIM GUARD; AND 3" STANDARD "P" TRAP. | EA | 1 | 0% | 1 | 3.524 | 72 | 253.728 | 567.913 | 253.728 | 567.913 | 821.641 | 821.641
24 |  | (FD1) FLOOR DRAIN DESCRIPTION: FINISHED FLOORS: ZURN ZB-415-B OR EQUAL BY WADE OR SMITH, CAST IRON DRAIN WITH FLANGE AND WEEP HOLES, CAULKED BOTTOM OUTLET, ROUND TOP IRON ADJUSTABLE COLLAR WITH ROLL THREAD, TYPE B, POLISHED BRONZE STRAINER. EACH DRAIN SHALL BE PROVIDED WITH INDEPENDENT DEEP-SEAL TYPE “P” TRAP WITH 4” MINIMUM WATER SEAL TO PREVENT ODORS. PROVIDE PROSET TRAP GUARD - TRAP PRIMER ALTERNATE OR EQUAL. | EA | 2 | 0% | 2 | 2.874 | 72 | 206.928 | 236.6304 | 413.856 | 473.2608 | 443.5584 | 887.1168
25 |  | TAG: WH-1 - ELECTRIC WATER HEATER MFG: A.O. SMITH - DEL-15 STORAGE (GAL): 15 | EA | 1 | 0% | 1 | 3.874 | 72 | 278.928 | 662.5651 | 278.928 | 662.5651 | 941.4931 | 941.4931
26 |  | (FPHB) FROST PROOF HOSE BIB DESCRIPTION: EXTERIOR WALL HYDRANTS SHALL BE ZURN Z-1310 OR EQUAL BY WADE OR JOSAM. HYDRANT SHALL BE OF CAST BRASS CONSTRUCTION, NON-FREEZE, HEAVY DUTY TYPE, “T” OPERATED AND WITH INTEGRAL VACUUM BREAKER. HYDRANT SHALL BE FURNISHED WITH UNION ELBOW ASSEMBLY AND IN LENGTH REQUIRED BY WALL THICKNESS. | EA | 1 | 0% | 1 | 1.214 | 72 | 87.408 | 149.8659 | 87.408 | 149.8659 | 237.2739 | 237.2739
27 |  | CLEAN OUT | EA | 1 | 0% | 1 | 1.325 | 72 | 95.4 | 173.529 | 95.4 | 173.529 | 268.929 | 268.929
[11 empty] | 4086.4752 | 5382.8928 | SUBTOTAL | 9469.368
HEATING, VENTILATING, AND AIR CONDITIONING (HVAC)
MECHANICAL
| M2.1 | CIRCULAR DUCT
28 |  | 6" DIA CIRCULAR DUCT | LF | 10 | 10% | 11 | 0.3768 | 70 | 26.376 | 12.06 | 290.136 | 132.66 | 38.436 | 422.796
CONDENSATE DRAIN
29 |  | 1/2" DIA CONDENSATE DRAIN | LF | 15 | 10% | 16.5 | 0.116 | 70 | 8.12 | 3.13 | 133.98 | 51.645 | 11.25 | 185.625
REFRIGERANT LINES
30 |  | REFRIGERANT LINES | LF | 24 | 10% | 26.4 | 0.116 | 70 | 8.12 | 3.13 | 214.368 | 82.632 | 11.25 | 297
AIR HANDLING UNIT
31 |  | (AHU-1) - DUCTLESS MINI-SPLIT HEAT PUMP - TOTAL SUPPLY CFM: 475 - TOTAL HEAT: 17,700 - WEIGHT: 40 | EA | 1 | 0% | 1 | 4.857 | 70 | 339.99 | 1483.35 | 339.99 | 1483.35 | 1823.34 | 1823.34
CONDENSING UNIT
32 |  | MARK: CU-1 (CONDENSING UNIT) CAPACITY (BTUH): 17,700 WEIGHT: 130 | EA | 1 | 0% | 1 | 4.587 | 70 | 321.09 | 1125.3 | 321.09 | 1125.3 | 1446.39 | 1446.39
EXHAUST FAN
33 |  | (EF-1) - FAN - TYPE: INLINE CABINET - ELECTRICAL: 51 WATTS 115V/1 DIA - CFM: 100 | EA | 1 | 0% | 1 | 2.547 | 70 | 178.29 | 286.44 | 178.29 | 286.44 | 464.73 | 464.73
EXHAUST AIR GRILLE
34 |  | 25 CFM - EXHAUST AIR GRILLE | EA | 1 | 0% | 1 | 0.526 | 70 | 36.82 | 46.035 | 36.82 | 46.035 | 82.855 | 82.855
35 |  | 75 CFM - EXHAUST AIR GRILLE | EA | 1 | 0% | 1 | 0.652 | 70 | 45.64 | 61.38 | 45.64 | 61.38 | 107.02 | 107.02
MISC
36 |  | GREENHECK WC-6 | EA | 1 | 0% | 1 | 3.657 | 70 | 255.99 | 664.95 | 255.99 | 664.95 | 920.94 | 920.94
[11 empty] | 1816.304 | 3934.392 | SUBTOTAL | 5750.696
ELECTRICAL
ELECTRICAL
LIGHTING
37 | E2.1 | (A) XTRALIGHT #LPR22-300L-40K-DIM. 2X2 VOLUMETRIC TROFFER | EA | 8 | 0% | 8 | 1.293 | 78 | 100.854 | 114.99 | 806.832 | 919.92 | 215.844 | 1726.752
38 |  | (B) CREE #C-WP-B-RDC-3L-40K-DB. LED WALL PACKS WITH BATTERY PACK | EA | 3 | 0% | 3 | 1.075 | 78 | 83.85 | 95.61 | 251.55 | 286.83 | 179.46 | 538.38
39 |  | (C) CREE #C-EE-A-EX-SFC-ELSF-RED-BB-SV. UNIVERSAL MOUNTED | EA | 3 | 0% | 3 | 1.709 | 78 | 133.302 | 151.99 | 399.906 | 455.97 | 285.292 | 855.876
40 |  | (D) TROY RLM CLASSIC #RS16-LED1835-RD-C-FGG-2-SL30-RD-C. SIGN ARM MOUNT CLASSIC DECORATIVE FIXTURE . SEE ARCH ELEVATIONS FOR PLACEMENTS. FIXTURE TO HVAE SMALL LOOP MOUNT WITH CAST CAGE ON BULB. | EA | 1 | 0% | 1 | 2.831 | 78 | 220.818 | 251.67 | 220.818 | 251.67 | 472.488 | 472.488
41 |  | THREE WAY SWITCH | EA | 2 | 0% | 2 | 0.378 | 78 | 29.484 | 4.5 | 58.968 | 9 | 33.984 | 67.968
42 |  | FOUR WAY SWITCH | EA | 1 | 0% | 1 | 0.571 | 78 | 44.538 | 11.65 | 44.538 | 11.65 | 56.188 | 56.188
POWER
43 |  | DUPLEX RECEPTACLE | EA | 7 | 0% | 7 | 0.423 | 78 | 32.994 | 5.8 | 230.958 | 40.6 | 38.794 | 271.558
44 |  | GFI DUPLEX RECEPTACLE | EA | 2 | 0% | 2 | 0.519 | 78 | 40.482 | 13.92 | 80.964 | 27.84 | 54.402 | 108.804
45 |  | 208/30A/2P/NF/NEMA-1 DISSCONNECT SWITCH | EA | 1 | 0% | 1 | 0.816 | 78 | 63.648 | 72.56 | 63.648 | 72.56 | 136.208 | 136.208
46 |  | 208/30A/2P/NF/NEMA-3R DISSCONNECT SWITCH | EA | 1 | 0% | 1 | 0.847 | 78 | 66.066 | 75.3 | 66.066 | 75.3 | 141.366 | 141.366
47 |  | ENCLOSED 30A 3PST 600 VOLT SWITCH w/ LOCKOUT DEVICE | EA | 1 | 0% | 1 | 3.524 | 78 | 274.872 | 633.97 | 274.872 | 633.97 | 908.842 | 908.842
48 |  | JUNCTION BOX | EA | 3 | 0% | 3 | 0.315 | 78 | 24.57 | 28 | 73.71 | 84 | 52.57 | 157.71
PANEL
49 |  | PANEL: LGH - 120/208 VOLT, 3Dia, 4W | EA | 1 | 0% | 1 | 6.857 | 78 | 534.846 | 1252 | 534.846 | 1252 | 1786.846 | 1786.846
50 |  | RE-USE EXISTING 30KVA XFMR AND GROUND ROD | EA | 1 | 0% | 1 | 0.425 | 78 | 33.15 | 0 | 33.15 | 0 | 33.15 | 33.15
51 |  | RE-USE EXISTING 60A DISCONNECT SWITCH | EA | 1 | 0% | 1 | 0.957 | 78 | 74.646 | 0 | 74.646 | 0 | 74.646 | 74.646
TRENCHING & BACKFILLING
52 |  | ALLOWANCE FOR WIRING & CONDUIT | LS | 1 | 0% | 1 | 4.56 | 78 | 355.68 | 985 | 355.68 | 985 | 1340.68 | 1340.68
[11 empty] | 3571.152 | 5106.31 | SUBTOTAL | 8677.462
PROJECTED COST | [13 empty] | 30487.1146
OVERHEAD AND PROFIT | [12 empty] | 15% | 4573.0672
INSURANCE | [12 empty] | 0% | 0
CONTINGENCY | [12 empty] | 5% | 1524.3557
TAX | [12 empty] | 9.7% | 2957.2501
SUGGESTED BID | [13 empty] | 39541.7876
Notes: