## Bid Recap & Summary
NAME: COMMUNITY CENTER NORTHRIDGE COOPERATIVE HOMES
BID RECAP
| DIVISION | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFIT | ADDITIONAL COST (If Any) | TOTAL PRICE
FACILITY SERVICES SUBGROUP WORK
| 0 | ELECTRICAL | 109346.3824 | 150115.0262 | 9436.5928 | 0 | 268898.0015 | 13444.9001 | 26889.8001 | 0 | 309232.7017
| 27 00 00 | TELECOMMUNICATION | 2823.2383 | 14093.9105 | 243.6455 | 0 | 17160.7943 | 858.0397 | 1716.0794 | 0 | 19734.9134
| 28 00 00 | FIRE ALARM | 22985.7773 | 16994.975 | 1983.6726 | 0 | 41964.4249 | 2098.2212 | 4196.4425 | 0 | 48259.0886
|  | TOTALS | 135155.3981 | 181203.9117 | 11663.9109 | 0 | 328023.2206 | 16401.161 | 32802.3221 | 0 | 377226.7037
BASE BID SUMMARY
| 1 | TOTAL MATERIAL COST |  | 135155.3981
|  | MATERIAL SALES TAX | 8.63% | 11663.9109
JOB EXPENSE
| 2 | TOTAL LABOR COST |  | 181203.9117
|  | LABOR TAX |  | 0
| 3 | TOTAL COST |  | 328023.2206
|  | OVERHEADS @ | 5% | 16401.161
|  | PROFIT @ | 10% | 32802.3221
| 4 | TOTAL COST W/ OVERHEADS + PROFIT |  | 377226.7037
|  | BOND & INSURANCE |  | 0
|  | PROJECT SUPERVISION & PROJECT MANAGEMENT |  | 0
|  | SUBMITTALS, SAMPLES, SHOP DRAWINGS, SITE SAFETY PLAN, ETC. |  | 0
|  | TEMPORARY FACILITIES & CONTROLS |  | 0
|  | PROJECT SCHEDULE (Primavera P3 or P6) |  | 0
|  | OFFICE OVERHEADS |  | 0
|  | CLOSEOUT PROCEDURES |  | 0
|  | PERMITS FEE |  | 0
|  | ALLOWANCES |  | 0
|  | MOBILIZATION / DEMOBILIZATION |  | 0
|  | SUB-CONTRACTS |  | 0
|  | TITLE T-24 INSPECTION & TESTING |  | 5000
|  | BIM COORDINATION FEES |  | 0
|  | TAXES, INSURANCES & PERMIT |  | 0
|  | CONTINGENCY |  | 0
| 5 | TOTAL BID PRICE |  | 382226.7037

## Estimate
NAME: COMMUNITY CENTER NORTHRIDGE COOPERATIVE HOMES | [11 empty] | PROJECT COST |  | 316359.3098
ADDRESS: 1 ARDATH COURT, SAN FRANCISCO CA 94124 | [11 empty] | OVERHEAD COST |  | 16401.161
Project Scope: Electrical | [11 empty] | PROFIT COST |  | 32802.3221
Addendum: N/A | [11 empty] | ADDITIONAL COST (If Any) |  | 11663.9109
Date: 02/06/2026 | [11 empty] | TOTAL BID COST |  | 377226.7037
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
|  |  |  | FACILITY SERVICES SUBGROUP WORK | [6 empty] | 185
|  | DIVISION |  | ELECTRICAL
DISTRIBUTION
Conduit
1 |  |  |  | 2" EMT Conduit | 33 | LF | 5% | 34.65 | 3.7419 | 129.6568 | 185 | 0.075 | 2.5987 | 480.7687 | 610.4256
2 |  |  |  | 4" EMT Conduit | 14 | LF | 5% | 14.7 | 9.7407 | 143.1883 | 185 | 0.15 | 2.205 | 407.925 | 551.1133
3 |  |  | Length Assumed | 4" PVC SCH 40 Conduit W/ Pull String | 100 | LF | 5% | 105 | 2.7278 | 286.419 | 185 | 0.134 | 14.07 | 2602.95 | 2889.369
Conductor
4 |  |  |  | #6 CU THHN/THWN | 47 | LF | 10% | 51.7 | 1.1311 | 58.4774 | 185 | 0.01 | 0.517 | 95.645 | 154.1224
5 |  |  |  | #1/0 CU THHN/THWN | 99 | LF | 10% | 108.9 | 3.5702 | 388.7904 | 185 | 0.015 | 1.6335 | 302.1975 | 690.9879
6 |  |  |  | #600 KCMIL CU THHN/THWN | 42 | LF | 10% | 46.2 | 19.3636 | 894.5979 | 185 | 0.04 | 1.848 | 341.88 | 1236.4779
Lugs
7 |  |  |  | Compression Lug CU With 1-Hole, #6 CU Wire | 6 | EA | 0% | 6 | 3.528 | 21.168 | 185 | 0.207 | 1.242 | 229.77 | 250.938
8 |  |  |  | Heat Shrink Tubing For #6 CU Wire | 6 | EA | 0% | 6 | 0.252 | 1.512 | 185 | 0.1265 | 0.759 | 140.415 | 141.927
9 |  |  |  | Compression Lug CU With 1-Hole, #1/0 CU Wire | 12 | EA | 0% | 12 | 5.508 | 66.096 | 185 | 0.276 | 3.312 | 612.72 | 678.816
10 |  |  |  | Heat Shrink Tubing For #1/0 CU Wire | 12 | EA | 0% | 12 | 0.336 | 4.032 | 185 | 0.161 | 1.932 | 357.42 | 361.452
11 |  |  |  | Compression Lug CU With 1-Hole, #600 KCMIL CU Wire | 6 | EA | 0% | 6 | 17.844 | 107.064 | 185 | 0.368 | 2.208 | 408.48 | 515.544
12 |  |  |  | Heat Shrink Tubing For #600 KCMIL CU Wire | 6 | EA | 0% | 6 | 0.432 | 2.592 | 185 | 0.207 | 1.242 | 229.77 | 232.362
Breakers
13 |  |  |  | 1P/15A Breaker | 3 | EA | 0% | 3 | 28 | 84 | 185 | 0.32 | 0.96 | 177.6 | 261.6
14 |  |  |  | 1P/15A Breaker, Lock-On Device | 1 | EA | 0% | 1 | 32.15 | 32.15 | 185 | 0.32 | 0.32 | 59.2 | 91.35
15 |  |  |  | 1P/20A Breaker | 5 | EA | 0% | 5 | 33 | 165 | 185 | 0.32 | 1.6 | 296 | 461
16 |  |  |  | 1P/20A Breaker, Lock-On Device | 2 | EA | 0% | 2 | 38 | 76 | 185 | 0.32 | 0.64 | 118.4 | 194.4
17 |  |  |  | 2P/15A Breaker | 1 | EA | 0% | 1 | 37 | 37 | 185 | 0.35 | 0.35 | 64.75 | 101.75
18 |  |  |  | 2P/20A Breaker | 18 | EA | 0% | 18 | 43.18 | 777.24 | 185 | 0.35 | 6.3 | 1165.5 | 1942.74
19 |  |  |  | 2P/20A Breaker, Lock-On Device | 2 | EA | 0% | 2 | 48 | 96 | 185 | 0.35 | 0.7 | 129.5 | 225.5
20 |  |  |  | 2P/25A Breaker | 2 | EA | 0% | 2 | 46 | 92 | 185 | 0.35 | 0.7 | 129.5 | 221.5
21 |  |  |  | 2P/30A Breaker | 1 | EA | 0% | 1 | 59 | 59 | 185 | 0.38 | 0.38 | 70.3 | 129.3
22 |  |  |  | 2P/45A Breaker | 5 | EA | 0% | 5 | 72 | 360 | 185 | 0.42 | 2.1 | 388.5 | 748.5
23 |  |  |  | 2P/60A Breaker | 5 | EA | 0% | 5 | 78 | 390 | 185 | 0.45 | 2.25 | 416.25 | 806.25
24 |  |  |  | 2P/100A Breaker | 1 | EA | 0% | 1 | 216.08 | 216.08 | 185 | 0.73 | 0.73 | 135.05 | 351.13
25 |  |  |  | 2P/200A Breaker | 1 | EA | 0% | 1 | 491 | 491 | 185 | 0.91 | 0.91 | 168.35 | 659.35
26 |  |  |  | 2P/400A Breaker | 1 | EA | 0% | 1 | 1012.28 | 1012.28 | 185 | 1.59 | 1.59 | 294.15 | 1306.43
27 |  |  |  | 2P/600A Breaker | 1 | EA | 0% | 1 | 2776.46 | 2776.46 | 185 | 2.19 | 2.19 | 405.15 | 3181.61
Panel
28 |  |  |  | Panel C1: 400A, 120/240V, 1PH, 3W, Mains: MLO, 42 Pole, Rating: 10K ACI, Mounting: Surface/ Bolt-On | 1 | EA | 0% | 1 | 2960 | 2960 | 185 | 5.18 | 5.18 | 958.3 | 3918.3
29 |  |  |  | Panel C2: 400A, 120/240V, 1PH, 3W, Mains: MLO, 42 Pole, Rating: 10K ACI, Mounting: Surface/ Bolt-On | 1 | EA | 0% | 1 | 2960 | 2960 | 185 | 5.18 | 5.18 | 958.3 | 3918.3
30 |  |  |  | Panel C3: 400A, 120/240V, 1PH, 3W, Mains: MLO, 42 Pole, Rating: 10K ACI, Mounting: Surface/ Bolt-On | 1 | EA | 0% | 1 | 2960 | 2960 | 185 | 5.18 | 5.18 | 958.3 | 3918.3
Disconnect Switch
31 |  |  |  | 2P/30A Fused Disconnect Switch | 1 | EA | 0% | 1 | 107.56 | 107.56 | 185 | 0.63 | 0.63 | 116.55 | 224.11
32 |  |  |  | 2P/45A Fused Disconnect Switch | 1 | EA | 0% | 1 | 124.95 | 124.95 | 185 | 0.66 | 0.66 | 122.1 | 247.05
33 |  |  | Assumed | 2P/45A Fused Disconnect Switch, NEMA 3R | 6 | EA | 0% | 6 | 135.18 | 811.08 | 185 | 0.68 | 4.08 | 754.8 | 1565.88
34 |  |  |  | 2P/60A Fused Disconnect Switch | 4 | EA | 0% | 4 | 196.3 | 785.2 | 185 | 0.86 | 3.44 | 636.4 | 1421.6
Devices
35 |  |  |  | 2P/100A Electrical Meter | 1 | EA | 0% | 1 | 212.06 | 212.06 | 185 | 0.93 | 0.93 | 172.05 | 384.11
36 |  |  |  | 2P/200A Electrical Meter | 1 | EA | 0% | 1 | 426.89 | 426.89 | 185 | 1.89 | 1.89 | 349.65 | 776.54
37 |  |  |  | 2P/400A Electrical Meter | 1 | EA | 0% | 1 | 1035.95 | 1035.95 | 185 | 3.18 | 3.18 | 588.3 | 1624.25
38 |  |  |  | 2P/600A Neutral Disconnecting Link | 1 | EA | 0% | 1 | 2400.87 | 2400.87 | 185 | 4.46 | 4.46 | 825.1 | 3225.97
39 |  |  |  | Incoming Main Disconnect: 800A, 120/240V, Single Phase Bus | 1 | EA | 0% | 1 | 3900 | 3900 | 185 | 5.95 | 5.95 | 1100.75 | 5000.75
40 |  |  |  | Irrigation Controller | 1 | EA | 0% | 1 | 334.99 | 334.99 | 185 | 1.24 | 1.24 | 229.4 | 564.39
Grounding
41 |  |  |  | #6 CU Grounding Wire | 60 | LF | 10% | 66 | 1.1311 | 74.6519 | 185 | 0.01 | 0.66 | 122.1 | 196.7519
42 |  |  |  | #4 CU Grounding Wire | 10 | LF | 10% | 11 | 1.7309 | 19.0397 | 185 | 0.011 | 0.121 | 22.385 | 41.4247
43 |  |  |  | User Ground 20' Long #1/0 Bare CU Encased in 3" Of Concrete | 1 | EA | 0% | 1 | 89.3 | 89.3 | 185 | 0.78 | 0.78 | 144.3 | 233.6
POWER
Conduit
44 |  |  |  | 3/4" EMT Conduit | 769 | LF | 5% | 807.45 | 0.9561 | 772.0029 | 185 | 0.047 | 37.9502 | 7020.7778 | 7792.7807
45 |  |  |  | 1" EMT Conduit | 661 | LF | 5% | 694.05 | 1.6398 | 1138.1032 | 185 | 0.053 | 36.7846 | 6805.1602 | 7943.2634
46 |  |  |  | 1-1/4" EMT Conduit | 983 | LF | 5% | 1032.15 | 2.6121 | 2696.079 | 185 | 0.06 | 61.929 | 11456.865 | 14152.944
47 |  |  |  | 1" RGS Conduit | 244 | LF | 5% | 256.2 | 5.423 | 1389.3726 | 185 | 0.093 | 23.8266 | 4407.921 | 5797.2936
48 |  |  |  | 3/4" PVC SCH 40 Conduit | 157 | LF | 5% | 164.85 | 0.3394 | 55.9501 | 185 | 0.042 | 6.9237 | 1280.8845 | 1336.8346
49 |  |  |  | 1-1/4" PVC SCH 40 Conduit | 40 | LF | 5% | 42 | 0.7145 | 30.009 | 185 | 0.055 | 2.31 | 427.35 | 457.359
Conductor
50 |  |  |  | #12 CU THHN/THWN | 2778 | LF | 10% | 3055.8 | 0.25998 | 794.4469 | 185 | 0.007 | 21.3906 | 3957.261 | 4751.7079
51 |  |  |  | #10 CU THHN/THWN | 4493 | LF | 10% | 4942.3 | 0.39765 | 1965.3056 | 185 | 0.008 | 39.5384 | 7314.604 | 9279.9096
52 |  |  |  | #8 CU THHN/THWN | 2977 | LF | 10% | 3274.7 | 0.73516 | 2407.4285 | 185 | 0.009 | 29.4723 | 5452.3755 | 7859.804
53 |  |  |  | #6 CU THHN/THWN | 1126 | LF | 10% | 1238.6 | 1.1311 | 1400.9681 | 185 | 0.01 | 12.386 | 2291.41 | 3692.3781
Devices
54 |  |  |  | Duplex Receptacle | 30 | EA | 0% | 30 | 18.92 | 567.6 | 185 | 0.23 | 6.9 | 1276.5 | 1844.1
55 |  |  |  | GFCI Duplex Receptacle | 27 | EA | 0% | 27 | 20.69 | 558.63 | 185 | 0.26 | 7.02 | 1298.7 | 1857.33
56 |  |  |  | GFCI Duplex Receptacle, WP | 12 | EA | 0% | 12 | 22.5 | 270 | 185 | 0.28 | 3.36 | 621.6 | 891.6
57 |  |  |  | GFCI Quad Receptacle | 1 | EA | 0% | 1 | 27.3 | 27.3 | 185 | 0.28 | 0.28 | 51.8 | 79.1
58 |  |  |  | Quad Receptacle | 2 | EA | 0% | 2 | 23.89 | 47.78 | 185 | 0.26 | 0.52 | 96.2 | 143.98
59 |  |  |  | 2P/20A GFCI Duplex Receptacle, WP | 1 | EA | 0% | 1 | 22.5 | 22.5 | 185 | 0.28 | 0.28 | 51.8 | 74.3
60 |  |  |  | 2P/20A Floor Mounted Duplex Receptacle | 13 | EA | 0% | 13 | 18.92 | 245.96 | 185 | 0.23 | 2.99 | 553.15 | 799.11
61 |  |  |  | 2P/25A Equipment Connection | 1 | EA | 0% | 1 | 0 | 0 | 185 | 0.48 | 0.48 | 88.8 | 88.8
62 |  |  |  | Single Pole Switch | 1 | EA | 0% | 1 | 15 | 15 | 185 | 0.22 | 0.22 | 40.7 | 55.7
LIGHTING
Conduit
63 |  |  |  | 3/4" EMT Conduit | 1742 | LF | 5% | 1829.1 | 0.9561 | 1748.8025 | 185 | 0.047 | 85.9677 | 15904.0245 | 17652.827
64 |  |  |  | 3/4" EMT Conduit (0-10V Dimming) | 1605 | LF | 5% | 1685.25 | 0.9561 | 1611.2675 | 185 | 0.047 | 79.2067 | 14653.2488 | 16264.5163
Conductor
65 |  |  |  | #14 CU THHN/THWN (0-10V Dimming) | 3210 | LF | 10% | 3531 | 0.17594 | 621.2441 | 185 | 0.006 | 21.186 | 3919.41 | 4540.6541
66 |  |  |  | #12 CU THHN/THWN | 852 | LF | 10% | 937.2 | 0.25998 | 243.6533 | 185 | 0.007 | 6.5604 | 1213.674 | 1457.3273
67 |  |  |  | #10 CU THHN/THWN | 3165 | LF | 10% | 3481.5 | 0.39765 | 1384.4185 | 185 | 0.008 | 27.852 | 5152.62 | 6537.0385
68 |  |  |  | #8 CU THHN/THWN | 1212 | LF | 10% | 1333.2 | 0.73516 | 980.1153 | 185 | 0.009 | 11.9988 | 2219.778 | 3199.8933
Lighting Fixture
69 |  |  |  | RB: 4" Dia. Recessed Led Horas. Lamp Downlight, LITHONIA LIGHTING #4JBKRD 50K 90CR1 MWM6, Watts: 89 VA, Mounting: Recessed | 22 | EA | 0% | 22 | 0 | 0 | 185 | 0.86 | 18.92 | 3500.2 | 3500.2
70 |  |  |  | RC: 6" Dia. Recessed Fluorescent Horas. Lamp Downlight With Specular Diffuse Trim, LITHONIA # LF6N-126TRT-F601AZ-120, Lamps: (1)26WTRT 35K, Watts: 28 VA, Mounting: Recessed | 23 | EA | 0% | 23 | 0 | 0 | 185 | 0.93 | 21.39 | 3957.15 | 3957.15
71 |  |  |  | RD: 8" Dia. Recessed Fluorescent Vertical Lamp Downlight W/ Specular Diffuse Trim, LITHONIA #AFV-42TRT-120, Lamps: (1)42WTRT 35K, Watts: 42 VA, Mounting: Recessed | 27 | EA | 0% | 27 | 0 | 0 | 185 | 0.98 | 26.46 | 4895.1 | 4895.1
72 |  |  |  | RL: 13" X 7" X 3" D. Wall Mounted Fluorescent Wall Sconce Polycarbonate Lens, KENALL ROUGH HOUSE #RHL712D-PP-MB-26Q-1-120, Lamps: (1) 26W QUAD, Watts: 26 VA, Mounting: Surface | 12 | EA | 0% | 12 | 0 | 0 | 185 | 1.2 | 14.4 | 2664 | 2664
73 |  |  |  | RM-EVE-6: 14" Exterior Surface Mounted Fluorescent Wall Washer (Dark-Sky), TERON #TALON W SQR-F126QE-120E-MB-DL, Lamps: (1) 26W QE, Watts: 28 VA, Mounting: Surface | 16 | EA | 0% | 16 | 0 | 0 | 185 | 0.86 | 13.76 | 2545.6 | 2545.6
74 |  |  |  | RZ: 52" Dia Five Blade Ceiling Fan, SEAGULL #1621 (NO LIGHT KIT), Lamps: NONE, Watts: 40 VA, Mounting: Ceiling, Must Be Energy Star Rated | 3 | EA | 0% | 3 | 0 | 0 | 185 | 1.86 | 5.58 | 1032.3 | 1032.3
75 |  |  |  | RCE: 6" Dia. Recessed Fluorescent Horas. Lamp Downlight With Spec Diff & Battery Back Up, LITHONIA #LF6N-126TRT-F601AZ-120-EL, Lamps: (1)26W TRT 35K, Watts: 28 VA, Mounting: Recessed | 5 | EA | 0% | 5 | 0 | 0 | 185 | 0.88 | 4.4 | 814 | 814
76 |  |  |  | RDE: 8" Dia. Recessed Fluorescent Vertical Lamp Downlight W/ Spec Diff & Battery Back Up, LITHONIA #AFV-42TRT-120-EL, Lamps: (1)42WTRT 35K, Watts: 42 VA, Mounting: Recessed, Provide Un-Switched Sensing Circuit Per NEC Requirements | 5 | EA | 0% | 5 | 0 | 0 | 185 | 0.93 | 4.65 | 860.25 | 860.25
77 |  |  |  | RXE: Combination Led Exit Sign And Emergency Light With 90 Min Battery Back-Up, LITHONIA #LHQM-S-W-1-G-120, Lamps: LED, Watts: 5 VA, Mounting: Universal, Provide Un-Switched Circuit Per NEC Requirements | 8 | EA | 0% | 8 | 0 | 0 | 185 | 0.78 | 6.24 | 1154.4 | 1154.4
Lighting Controls
78 |  |  |  | Wall-Mounted Single-Pole Switch | 1 | EA | 0% | 1 | 0 | 0 | 185 | 0.28 | 0.28 | 51.8 | 51.8
79 |  |  |  | Wall box Mounted Dual-Tech Line Voltage Occ. Sensor W/ Dual Toggle Switch, SENSOR SWITCH # WSD-PDT-2P, Provides For Manual On/Auto Off Of Bi-Level Lighting, 20 Min Maximum, Program Light For 10 Min. Minimum. Program Fan For an Additional 10 Minutes. | 4 | EA | 0% | 4 | 0 | 0 | 185 | 0.58 | 2.32 | 429.2 | 429.2
80 |  |  |  | Ceiling-Mounted Daylight Sensor, WATS LMLS | 11 | EA | 0% | 11 | 0 | 0 | 185 | 0.63 | 6.93 | 1282.05 | 1282.05
81 |  |  |  | Ceiling-Mounted Occupancy Sensor Switch, WATS LMDC-100 | 14 | EA | 0% | 14 | 0 | 0 | 185 | 0.46 | 6.44 | 1191.4 | 1191.4
82 |  |  |  | Controller W/ 2 Relays & 0-10V Dimming Outputs, WATS LMCP2-10V 115/277-2HD | 12 | EA | 0% | 12 | 0 | 0 | 185 | 0.73 | 8.76 | 1620.6 | 1620.6
83 |  |  |  | Wall-Mounted On/Raise/Lower/Off Specialty Switch, WATS LMRC | 13 | EA | 0% | 13 | 0 | 0 | 185 | 0.61 | 7.93 | 1467.05 | 1467.05
84 |  |  |  | OS7: Lighting Control Panel, LC&D (BLUE-BOX) # LT-4, Provides For Auto On/Auto Off Of Exterior Lighting, Provide Per T-24 Req'Mts. Provide All Required Programming w/ Lighting Control Cabinet "LCC" | 1 | EA | 0% | 1 | 0 | 0 | 185 | 3.14 | 3.14 | 580.9 | 580.9
85 |  |  |  | Photocell Sensor, WATS LMPO-200 (On Roof) | 1 | EA | 0% | 1 | 0 | 0 | 185 | 0.53 | 0.53 | 98.05 | 98.05
86 |  |  |  | OS4, Wall-Mounted Dimming Switch, WATS LMSW-211-W | 1 | EA | 0% | 1 | 0 | 0 | 185 | 0.33 | 0.33 | 61.05 | 61.05
|  |  |  | MISCELLANEOUS | [5 empty] | 60353 |  |  |  |  | 60353
87 |  |  | Assumed | Junction Box | 1 | EA | 0% | 1 | 29.1 | 29.1 | 185 | 0.28 | 0.28 | 51.8 | 80.9
SAW CUT
88 |  |  |  | Saw Cut & Repair Concrete Floor For Conduit Installation | 356 | LF | 10% | 391.6 | 0 | 0 | 185 | 0.067 | 26.2372 | 4853.882 | 4853.882
TRENCHING & BACKFILLING
89 |  |  |  | Excavation & Backfilling (2' Deep x 1' Wide Trench) | 7.4074 | CY | 10% | 8.1481 | 0 | 0 | 185 | 0.77 | 6.2741 | 1160.7037 | 1160.7037
[7 empty] | SUBTOTAL MATERIAL |  | 109346.3824 | SUBTOTAL LABOR |  | 150115.0262 | SUBTOTAL HOURS |  | 811.4326 | 259461.4086
|  | DIVISION | 27 00 00 | TELECOMMUNICATION
TELECOMMUNICATION
Conduit
90 |  |  | Length Assumed | 3/4" EMT Conduit | 300 | LF | 5% | 315 | 0.9561 | 301.1715 | 185 | 0.047 | 14.805 | 2738.925 | 3040.0965
91 |  |  |  | 3/4" PVC SCH 40 Conduit | 159 | LF | 5% | 166.95 | 0.3394 | 56.6628 | 185 | 0.042 | 7.0119 | 1297.2015 | 1353.8643
Conductor
92 |  |  |  | Cat6 Cable | 3077 | LF | 10% | 3384.7 | 0.42 | 1421.574 | 185 | 0.012 | 40.6164 | 7514.034 | 8935.608
J-Hooks
93 |  |  |  | J-Hook | 57 | EA | 0% | 57 | 1.52 | 86.64 | 185 | 0.08 | 4.56 | 843.6 | 930.24
Devices
94 |  |  | Size Assumed | 4'-2" Long Cable/Phone Backboard | 1 | EA | 0% | 1 | 124.69 | 124.69 | 185 | 0.68 | 0.68 | 125.8 | 250.49
95 |  |  |  | Telephone/Data Outlet | 23 | EA | 0% | 23 | 22.5 | 517.5 | 185 | 0.23 | 5.29 | 978.65 | 1496.15
96 |  |  |  | Floor-Mounted Data Outlet | 13 | EA | 0% | 13 | 22.5 | 292.5 | 185 | 0.23 | 2.99 | 553.15 | 845.65
97 |  |  |  | TV Outlet | 1 | EA | 0% | 1 | 22.5 | 22.5 | 185 | 0.23 | 0.23 | 42.55 | 65.05
[7 empty] | SUBTOTAL MATERIAL |  | 2823.2383 | SUBTOTAL LABOR |  | 14093.9105 | SUBTOTAL HOURS |  | 76.1833 | 16917.1488
|  | DIVISION | 28 00 00 | FIRE ALARM
FIRE ALARM
Allowance
98 |  |  |  | Allowance For All Complete Fire Alarm Wiring And Devices W/ All Associated Accessories In This Area (6163 SF) | 1 | LS | 0% | 1 | 0 | 20337.9 | 185 | 0 | 0 | 13558.6 | 33896.5
Conduit
99 |  |  |  | 3/4" EMT Conduit | 100 | LF | 5% | 105 | 0.9561 | 100.3905 | 185 | 0.047 | 4.935 | 912.975 | 1013.3655
Conductor
100 |  |  |  | #14 CU THHN/THWN | 200 | LF | 10% | 220 | 0.17594 | 38.7068 | 185 | 0.006 | 1.32 | 244.2 | 282.9068
Devices
101 |  |  |  | Duct Smoke Detector | 5 | EA | 0% | 5 | 78.12 | 390.6 | 185 | 0.58 | 2.9 | 536.5 | 927.1
102 |  |  |  | FACP: Fire Alarm Control Panel | 1 | EA | 0% | 1 | 835 | 835 | 185 | 3.24 | 3.24 | 599.4 | 1434.4
103 |  |  | Add For Client Instruction | Intercom at Entry Door | 2 | EA | 0% | 2 | 488 | 976 | 185 | 1.95 | 3.9 | 721.5 | 1697.5
104 |  |  |  | Access Control 1 Card Reader | 2 | EA | 0% | 2 | 153.59 | 307.18 | 185 | 1.14 | 2.28 | 421.8 | 728.98
[7 empty] | SUBTOTAL MATERIAL |  | 22985.7773 | SUBTOTAL LABOR |  | 16994.975 | SUBTOTAL HOURS |  | 18.575 | 39980.7523
[7 empty] | TOTAL MATERIAL |  | 135155.3981 | TOTAL LABOR |  | 181203.9117 | TOTAL HOURS |  | 906.1909 | 316359.3098
TOTAL MATERIAL COST | [15 empty] | 135155.3981
TOTAL LABOR COST | [15 empty] | 181203.9117
TOTAL LABOR HOURS | [15 empty] | 906.1909
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary, depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.